EMAS ELEKTROTEKNİK MAKİNA    SANAYİ VE TİCARET A.Ş

EMAS ELEKTROTEKNİK MAKİNA    SANAYİ VE TİCARET A.Ş

İkitelli Organize Sanayi Bölgesi Mah.Atatürk Bulvarı No: 50 / A 34490 Başakşehir / İstanbul / TÜRKİYE

Telefon : +90 212 549 22 52

Faks      : +90 212 549 25 80

Web      : www.emasas.com.tr

Technical Specifications: A14B1K11

Order Code:

A14B1K11

Contact Block:

Technical Information :

Body:

| -Plastic body |  |
| --- | --- |
| -Operating Temperature | -15°/+80°C |
| -Mechanical life | 50.000 operation |
| -Electrical life | 50.000 operation |
| -Type of wire connection | Terminal |
| -Wire profile | 2,5 mm² |

Electrical Informations :

| General Specifications |  |  |
| --- | --- | --- |
| Range Of Use |  | AC15 |
| Operating Voltage | Ue | 230V AC |
| Fregquency | F | 50Hz |
| Operating Current | Ie | 4A |
| Insulation Resistance | Ui | 300V |
| Stroke Resistance Voltage | Uimp | 2.5kV |
| Dielectrical Strength |  | 1500V AC |

| General Specifications : |  |  |
| --- | --- | --- |
| -Range of use |  | AC15-AC1 |
| -Operating voltage | Ue | 250V AC |
| -Operating frequency | f | 50Hz |
| -Operating current | Ie | 16 (4) A |
| -Insulation voltage | Ui | 300V |
| -Stroke resistance voltage | Uimp | 2,5kV |
| -Short circuit breaking capacity | Icn | 1kA |
| -Insulation Resistance |  | 10 MΩ min |

Electrical Informations :

Standards:

- TS EN 61058-1