Ziya Gökalp Mah. İkitelli Organize Sanayi Bölgesi Atatürk Bulvarı No:50 34490 Başakşehir / İstanbul / TÜRKİYE

Telefon : +90 212 549 22 52

Faks      : +90 212 549 25 80

Web      : www.emasas.com.tr

EMAS ELEKTROTEKNİK MAKİNA    SANAYİ VE TİCARET A.Ş

Technical Spesification:EBM06PD12

Order Code:

EBM06PD12

Number of Contacts: 6P+E

Technical Information:

| Body : |  |
| --- | --- |
| -Easy assembly with fixed-not falling screw |  |
| General Specificaitons |  |
| Operating Temprature | -40/+125°C |
| Mechnical Life | ≥500 120 (op/hour) |
| Electirical Life | ≥100 240 (op/hour) |
| Cable Tightening Torque | 1,2-1,5 Nm |
| Wire Profile | 2,5 mm² |

| Genel Özellikler |  |  |
| --- | --- | --- |
| Range of use |  | AC15 |
| Operating Voltage | Ue | 400V AC |
| Insulation Voltage | Ui | 690V |
| Frequency | f | 50Hz |
| Operating Current | Ie | 16A |
| Stroke resistance voltage | Uimp | 6kV |
| Short circuit breaking capacity | Icn | 1kA |
| Insulation Resistance |  | 10 MΩ min |
| Dielectric Strength (For 1 min.) |  | 3000V |

Electrical Information:

Standards:

- TS EN 61984

(contacts)

Electrical Informations :

| General Specifications |  |  |
| --- | --- | --- |
| Range Of Use |  | AC15 |
| Operating Voltage | Ue | 230V AC |
| Fregquency | F | 50Hz |
| Operating Current | Ie | 4A |
| Insulation Resistance | Ui | 300V |
| Stroke Resistance Voltage | Uimp | 2.5kV |
| Dielectrical Strength |  | 1500V AC |